## Developer Check List 2023
DEVELOPER CHECK LIST 2023
HOUSING ASSOCIATION |  |  | THEIR SPECIFICATION IS ESSENTIAL.
APARTMENTS / FLATS |  |  | ACCOMMODATION SCHEDULES ARE REQUIRED.
The target turn around time for designs is 20 working days from the receipt of all required information. If required information is not provided, the 20 day period may well be extended. Any special request for the preparation of a design will need approval and be subject to the current demand.
Please send the drawings in the format indicated below to Design.Enquiries@idealheating.com (Drop Box and WeTransfer not accepted)
AutoCAD DWG files per individual floor plan with essential layers only, where possible. Drawings can be sent in PDF format, though this may delay the design process. Scanned PDF files are not suitable.
CLIENT DETAILS
Client Name | [5 empty] | Date
Contact | [5 empty] | KAE/DIR
Tel Number | [5 empty] | Ref. No
e-mail
Address | [5 empty] | Postcode
Developer Name | [5 empty] | Site Postcode
Project Name
No. of Dwellings | [5 empty] | No. of Types
FINAL ISSUE SCALED DRAWINGS ATTACHED
DWG | Plans | Yes / No |  | Elevations | Yes / No |  | Sections | Yes / No
DESIGN SPECIFICATION
GAS BOILER
Combi | Yes / No |  | Range
Heat Only | Yes / No |  | Range
System | Yes / No |  | Range
AIR SOURCE HEAT PUMP (ASHP)
ASHP | Yes / No |  | Range
Site Plan | Yes / No |  | Cylinder Range
Ideal Logic Air Cylinder |  | Yes / No |  | Pre-plumbed | Yes / No |  | Pre-plumbed int Buffer | Yes / No
ASHP SITE POSTCODE AND ACCURATE SAP/U VALUES ARE ESSENTIAL.
ASHP DESIGNS TO INDICATE EXTERNAL UNIT OR PROVIDE SITE PLAN WITH BOUNDARIES
ADDITIONAL EQUIPMENT
Radiators / Emitters
Stelrad | Yes / No |  | Range
Other
Stelrad | Yes / No |  | Range
Towel Rail |  |  | Other
Buffer Tank (ASHP Only)
Ideal | Yes / No |  | Other
Hot Water Cylinder
Ideal | Yes / No |  | Range
Other
Lockshield Valves (LSV)
Honeywell | Yes / No |  | Other
Thermostatic Radiator Valves (TRV)
Honeywell | Yes / No |  | Other
Controls
Honeywell | Yes / No |  | Range
Other
Pump
Grundfos | Yes / No |  | Other
System Inhibitor
Adey | Yes / No |  | Other
Waste Water Recovery
WWHRS | Yes / No |  | Specify
CLIENT SPECIFIED EQUIPMENT
DESIGN CRITERIA
Unless SAP Calculations are provided, all the U Values will be taken as the MAXIMUM PERMITTED by the current edition of the Building Regulations. Refurbished Buildings and ASHP Projects MUST Be Supplied With Accurate U Values
PLEASE INDICATE U VALUES BELOW
Wall |  | Floor |  |  | Cold Roof |  | Warm Roof
Doors |  | Glazed Door |  |  | Windows |  | Roof Light
Designs will be prepared to nhbc technical standards unless otherwise advised.
If other standards are required, please indicate external temperature required and internal as below
Are the DHW designs to comply with N.H.B.C. 8.1 | [5 empty] | Yes / No
Are the designs to Building Regulations Part L 2021 | [5 empty] | Yes / No
If no, please state which
DESIGN CRITERIA - CONTINUED
| Room |  |  | Temp oC | Air Change Rate |  | Other
| Living/Dining Rooms |  |  | 21 | 0.5
| Kitchen |  |  | 21 | 1.5
| W.C./Utility |  |  | 21 | 1.5
| Hall/Landing |  |  | 21 | 1
| Bedrooms |  |  | 21 | 1.0 / 0.5
| Bathrooms en-suite |  |  | 22 | 1.5
Pipework Type
| Copper Pipework |  |  |  |  | Yes / No
| Plastic Pipe |  |  |  |  | Yes / No
| Small Bore & Microbore Drops |  |  |  |  | Yes / No
| Microbore & Manifolds |  |  |  |  | Yes / No
| Drops to Individual Rads |  |  |  |  | Yes / No
| Single Drop to a Ground Floor Circuit |  |  |  |  | Yes / No
Pipework Runs
| Pipework at Low Level |  |  |  |  | Yes / No
| In Wall; Floor; Ceiling Ducts or voids |  |  |  |  | Yes / No
| In Screed |  |  |  |  | Yes / No
Pipework Drops
| Surface Mounted. |  |  |  |  | Yes / No
| Behind Dry Liner |  |  |  |  | Yes / No
| In Builders Work Ducts |  |  |  |  | Yes / No
SYSTEM ZONING
ASHP WILL BE DESIGNED SINGLE ZONE UNLESS INSTRUCTED OTHERWISE.
Two Zones (Check SAP)
| Houses | Yes / No |  | Apartments |  | Yes / No
Unless otherwise advised, the following zones will apply
Areas |  |  | Zone 1 | Zone 2 | Zone 3
GF/Living Areas/ Hall/Landing |  |  | X |  | At specific request, as nominated (e.g. bedroom over garage)
FF/SF/Bedrooms/Wet Rooms |  |  |  | X
TERMS AND CONDITIONS
1. The designs can only be as accurate as the drawings received and are based on average exposure.
2. The designs are not to be altered without written permission.
3. Full designs are produced on the basis of solus specification for boilers and radiators.
4. The designs are not "as fitted" designs and additional equipment will be required to complete the installation.
5. Collateral warranties are available on request.
6. Diagrammatic DHW will be supplied for combination boilers.
7. If radiator positions are not shown, they will be assumed.
8. "One Off" designs will only be accepted with prior agreement.
9. Designs and or radiator schedules using HIU’s (Heat Interface Units), will not be undertaken without previous consultation and agreement by the design office manager.
Document issue date: |  | 2023-11-21